## PS4-VOC-1000
PS1/PS4 -VOC-1000
An in-depth analyis of cross-sensitivities and thresholds of the gasses detected by the Total VOC Sensor by SGX Sensortech
|  |  | Cross-sensitivity Statistics |  | Threshold and Health Statistics
| VOC | Formula | Test Conc. (ppm) | Sensor Reading (ppm) | Odor Threshold (ppm) | Irritation Threshold (ppm) | Recommended Exposure Limit (ppm) | Permissible Exposure Limit ( ppm) | IDLH (ppm) | Source(s)
| Acetaldehyde | C₂H₄O | 5 | 3.84 | 0.05 | 50 | n/a | 200 (TWA) | 2000 | NIOSH
| Acetic Acid | CH₃COOH | 5 | 1.1 | 0.48 - 1 | 50 | 10 (TWA), 15 (STEL) | 10 (TWA) | 50 | NIOSH
| Acetylene | C₂H₂ | 5 | 1.64 | 226 | TODO | 2500 (C) | n/a | n/a | NIOSH
| Acrylonitrile | C₃H₃N | 5 | 0.4 | 1.6 | TODO | 1 (TWA), 10 (STEL) | 2 (TWA), 10 (STEL/C) | 85 | NIOSH
| Ammonia | NH₃ | 5 | 1.5 | 5.0 - 53 | 300-500 | 25 (TWA), 35 (STEL) | 50 (TWA) | 300 | NIOSH
| Benzene | C₆H₆ | 5 | 1.1 | 1.5 - 4.7 | TODO | 0.1 (TWA), 1 (STEL) | 1 (TWA), 5 (STEL) | 500 | NIOSH
| Butadiene | C₄H₆ | 5 | 8.68 | 1 - 1.6 | TODO | n/a | 1 (TWA), 5 (ST) | 2000 | NIOSH
| Carbon Disulfide | CS₂ | 5 | 1.23 | 0.1 - 0.2 | TODO | 1 (TWA), 10 (STEL) | 20 (TWA), 30 (C) | 500 | NIOSH
| Carbon Monoxide | CO | 5 | 3.38 | undetectable | TODO | 35 (TWA), 200 (C) | 50 (TWA) | 1200 | NIOSH
| Dimethyl Disulfide | C₂H₆S₂ | 2 | 6.79 | 0.007 - 0.012 | TODO | 0.1 (TWA) | 1 (TWA) | 7 | NIOSH
| Ethanol | C₂H₆O | 5 | 1.83 | 10 | TODO | 1000 (TWA) | 1000 (TWA) | 3300 | NIOSH
| Ethyl Mercaptan | C₂H₆S | 5 | 8.97 | 0.00035 | TODO | 0.5 (C) | 10 (C) | 500 | NIOSH
| Ethylene | C₂H₄ | 5 | 0.59 | 260 | TODO | <0.1 (TWA), 5 (C) | 1 - 5 (TWA) | 800 | NIOSH
| Formaldehyde | HCHO | 5 | 5.29 | 0.05 - 1 | TODO | 0.016 (TWA), 0.1 (C) | 0.75 (TWA), 2 (ST) | 20 | NIOSH
| Formic Acid | HCOOH | 5 | 5.37 | 49 | TODO | 5 (TWA) | 5 (TWA) | 30 | NIOSH
| Hydrogen | H₂ | 5 | 1.15 | undetectable | undetectable | undetectable | undetectable | Not applicable | n/a
| Hydrogen Chloride | HCl | 5 | 0.27 | 0.255 - 10.06 | TODO | 5 (C) | 5 (C) | 50 | NIOSH
| Hydrogen Cyanide | HCN | 5 | 0.36 | 2 - 10 ppm | TODO | 4.7 (ST) | 10 (TWA) | 50 | NIOSH
| Isobutene | C₄H₈ | 5 | 5 | ? | TODO | 800 (TWA) | n/a | n/a | NIOSH
| Methanol | CH₃OH | 5 | 5.96 | 100 | TODO | 200 (TWA), 250 (ST) | 200 (TWA) | 6000 | NIOSH
| Methyl Mercaptan | CH₄S | 5 | 7 | 0.002 | TODO | 0.5 (C) | 10. (C) | 150 | NIOSH
| P-xylene | C₈H₁₀ | 5 | 0.59 | 0.09 - 0.4 | TODO | 100 (TWA), 150 (STEL) | 100 (TWA), 200 (C) | 900 | NIOSH
| Styrene | C₈H₈ | 0.5 | 7.5 | 0.04 - 0.32 | TODO | 50 (TWA), 100 (STEL) | 100 (TWA), 200 (C) | 700 | NIOSH
| Sulfur Dioxide | SO₂ | 5 | 5 | 0.67 - 4.75 | TODO | 2 (TWA), 5 (STEL) | 5 (TWA) | 100 | NIOSH
| Toluene | C₇H₈ | 5 | 0.81 | 2.5 | TODO | 100 (TWA), 150 (ST) | 200 (TWA), 300 (C) | 500 | NIOSH
| Trimethylamine | C₃H₉N | 5 | 0.65 | 3.2e-05 | TODO | 10 (TWA), 15 (ST) | n/a | n/a | NIOSH
| Dining Lampblack | unsaturated hydrocarbons | - | - | - | - | - | - | - | -
| Gasoline Volatilization | Aliphatic/ aromatic hydrocarbons, cycloalkanes | - | - | - | - | - | - | - | -
COMMENTS | the bottom two rows are more describing testing conditions rather than gasses themselves. |  | - | - | - | not a lot of standardized methods documented; values to be looked into further. | TWA = time weighted average STEL = short term exposure limit ST = " " C = ceiling value |  | - | -

## SGX Sensor Research
SGX Senortech Sensor Review
A list of various SGX Sensortech VOC-sensor specifications, based off literature review by Sarah Walden.
| Volatile Organic Compound | Sensor Model(s) | VOC-Specific? | Detection Technology | Measurement Range
| Acetic Acid (CH₃COOH) | - | FALSE
| Acetylene (C₂H₂) | IR14BD | TRUE | Infrared
|  | IR604 | TRUE | Infrared
| Acrylonitrile (C₃H₃N) | - | FALSE
| Ammonia (NH₃) | VQ41TSB | TRUE | Catalytic Bead (Pellistor)
|  | SGX-NH3-500 | TRUE | Electrochemical
|  | SGX-4NH3 | TRUE | Electrochemical
|  | SGX-4NH3-100 | TRUE | Electrochemical
|  | SGX-4NH3-300 | TRUE | Electrochemical
|  | SGX-4NH3-1000 | TRUE | Electrochemical
|  | SGX-7NH3-100 | TRUE | Electrochemical
|  | SGX-7NH3-1000 | TRUE | Electrochemical
|  | PS1- / PS4-NH3-100 | TRUE | Electrochemical
| Benzene (C₆H₆) | IR12xx | FALSE
|  | ME3-C6H6 | TRUE | (Not SGX but electrochemical )
|  | IR15TT-D | FALSE
| Butadiene (C₄H₆) | - | FALSE
| Carbon Disulfide (CS₂) | - | FALSE
| Ethanol (C₂H₆O) | -
| Ethylene (C₂H₄) | - | FALSE
| Ethylene Oxide (C₂H₄O) | - | FALSE
| Formaldehyde (HCHO) | PS1- / PS4-HCNO-5 | TRUE | Electrochemical
|  | PS1- /PS4-HCNO-100* | TRUE | Electrochemical
| Formic Acid (HCOOH) |  | FALSE
| Hydrogen (H₂) | PS1- / PS4-H2-20000 | FALSE
FALSE
FALSE
FALSE
| Hydrogen Chloride (HCl) |  | FALSE
| Hydrogen Cyanide (HCN) |  | FALSE
| Isobutene (C₄H₈) |  | FALSE
| Methanol (CH₃OH) |  | FALSE
| Methyl Mercaptan (CH₄S) |  | FALSE
| Methyl Sulfide (C₂H₆S) |  | FALSE
| Nitrogen Dioxide (NO₂) |  | FALSE
O-Xylene (C₈H₁₀)
Styrene (C₈H₈)
Toluene (C₇H₈)
Trimethylamine (C₃H₉N)
| VOCs in green are common | * = module
Liquid...?
VOC by definition, i.e. high vapor pressure and low water solubility